## Hot Work Permit
FORT 26th CONDOMINIUM CORPORATION
5/F Marajo Tower, # 312 26th Street West cor. 4th Avenue,
Bonifacio Global City, 1643 Taguig, Metro Manila, Philippines
Tel. No. 856-6996 * Fax No. 856-6995
HOT WORK PERMIT
For Heat guns, Grinding Works, Cutting, Welding or Soldering with Portable Gas, Arc or Other Equipment Generating Heat or Spark.
BEFORE INITIATING HOT WORK, ENSURE PRECAUTIONS ARE IN PLACE! MAKE SURE AN APPROPRIATE FIRE EXTINGUISHER IS READILY AVAILABLE!
Job Date: |  | Start Time: |  |  | Expiration:
Permit Applicant: |  |  |  | Company:
Supervisor/Engineer: |  |  |  | Company:
Location/Description of Work:
IS FIRE WATCH REQUIRED?
1. | (Yes or No) | Are combustible materials in building construction closer than 35 feet to the point of operation?
2. | (Yes or No) | Are combustible more than 35 feet away but would easily ignited by sparks?
3. | (Yes or No) | Are wall or floor openings within 35 feet radius exposing combustible material in adjacent areas, including concealed spaces in floor or walls?
4. | (Yes or No) | Are combustible materials adjacent to the other side of metal partitions, walls, ceilings or roofs which could be ignited by conduction or radiation?
5. | (Yes or No) | Does the work necessitate disabling a fire detection, suppression or alarm system component including concealed duct detectors?
YES to any of the above indicates that a qualified fire watchman is required.
Fire Watcher's Name (s)
I understand and I will abide by the conditions described in this permit. I will submit a signed copy of this permit to the safety office prior to the start of work and post a copy of it at the entrance to the job site/room. I will implement the necessary precautions which are outlined on both pages of this permit form. Thirty minutes after each hot work session, I will re-inspect work areas and adjacent areas to which spark and heat might have spread to verify that they are safe and contact alarm technicians for any disabled fire protection system reactivated.
Company or Department |  |  | Name of Person doing Hot Work |  |  |  | Date /Signature
I verify the above location has been examined, the adequate fire prevention precautions have been taken and hot work authorization is granted.
Safety Officer/Building Engineer: | [5 empty] | Date / Signature: